## Slide 1: MM4250 Cal PCBs and Dual SP3T Ecal
Lafe Spietz
NIST
Boulder, CO

## Slide 2: CPW-G Rogers 4350 B 0.762 mm (30 mils)
https://rogerscorp.com/advanced-electronics-solutions/ro4000-series-laminates/ro4350b-laminates

## Slide 3: 60 mil thick board

## Slide 4: Load resistors
https://www.digikey.com/en/products/detail/te-connectivity-passive-product/CPF0201B49R9E1/14007284

## Slide 6
https://mpd.southwestmicrowave.com/product/292-04a-12-end-launch-supersma-27-ghz-jack-female-standard-block-500-thread-in/

## Slide 7: SOLT Standards
THRU
OPEN
LOAD
SHORT
SWITCH

## Slide 8: Dual SP3T Ecal

## Slide 9: Questions
Do we want to make an attempted impedance transformer to also test?
Do we want to switch to the full Eurocircuits stackup for the SP3T board?
Do we want 30 mil or 60 mil boards for the test boards?
Who orders the boards?
What else to make?
What about trying to measure TWPA in existing switch setup? Have they tried it? Should we try it?
Where to publish results on measurements?

## Slide 10: Impedance matching network, version 1
600 pH
0.3 pF
Switch
Input
= 44.7 Ω

## Slide 11: 44.7 Ohm impedance

## Slide 12: We have 4 of these:

## Slide 13: TWPA-TRON
DUT1
DUT2
DUT3
SOLR
SPDT
SPDT
SPDT
SPDT
SPDT
SPDT
SP3T
SP3T

## Slide 14
TWPA-TRON
DUT1
DUT2
DUT3
SOL
SOL
SPDT
SPDT
SPDT
SPDT
SPDT
SPDT
SPDT
SPDT